AJF/AL/SN/1098

7 June 2023

Paul Marriott

St Nicholas Church

Church Lane

Mavesyn Ridware

Rugeley

WS15 3QE

Dear Sir

Sincere apologies on the delay in getting this quote to your good self.

Please refer to page 2 of the recent report EICR =18.20 127371.

Code 1 items – none.

C2 and C3, items 1, 2, 3, 4, 5, 6, 7, 8, 9, 10, 11, 12, 15, 30, 33, 34 – new distribution board.

**Cost - £1,586.32 + VAT**

C2, item 13 – rewire church lighting in M.I.C.C cable, further survey required. **Free of charge.**

C2, item 16 – provide and fit new light (allowance for light £200.00 – unsure of what fitting is required).

**Cost - £265.00 + VAT**

C2, item 17 – install earthing conductor.

**Cost - £65.00 + VAT**

C3, item 18 – **Cost - £10 + VAT**

C3, item 19 – **Cost** - **£10 + VAT**

C2, item 21 – fit new protective cover x 4.

**Cost - £160 + VAT**

C2 and C3, items 22, 23, 24, 25, 26 – rewire and renew.

**Cost - £360.00 + VAT**

C2, item 27 – new switch.

**Cost - £18.50 + VAT**

C2, item 28 – **Cost - £35.00 + VAT**

C2, item 29 – **Cost - £40.00 + VAT**

C3, item 33 – **Cost - £110.00 + VAT**

C3, item 35 – **Cost - £115.00 + VAT**

C3, item 36 – **Cost - £86.00 + VAT**

F1, items 31 and 32 – **cost - £135.00 + VAT**

Info, items 14, 20 – no actions included.

Quote valid for 30 days from date shown.

Yours faithfully

A J Ferneyhough

Andrew J Ferneyhough

**Director**

For and on behalf of

**ANDREWS ELECTRICAL LIMITED.**